## November 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m06_c20_highgain | Unusually far from detector average | EBC_m09_c40_highgain | Half gain (not in update) | LBA_m02_c06_highgain | Drift up to a stable value, but ADC bad anyways | LBC_m08_c03_lowgain | Half gain (not in update)
EBA_m07_c31_lowgain | Still drifting down, ADC Bad, CIS bad | EBC_m16_c36_highgain | Unusually far from detector average (not in update) | LBA_m02_c06_lowgain | Drift up to a stable value, but ADC bad anyways | LBC_m10_c37_highgain | ADD BAD CIS
EBA_m12_c36_highgain | Remove Bad CIS, ADC affected | EBC_m16_c39_highgain | Unusually far from detector average (not in update), Bad CIS, ADC affected | LBA_m03_c17_lowgain | Recalibrated, now the channel mean is very far from the detector average yet stable | LBC_m19_c22_lowgain | Half gain (not in update),high number of failed calibrations
EBA_m15_c08_highgain | Half gain (not in update) | EBC_m18_c04_lowgain | Unusually far from detector average | LBA_m03_c17_highgain | Recalibrated, now the channel mean is very far from the detector average yet stable | LBC_m28_c35_**gain | Marked as ADC bad, but CIS calibrations are good
EBA_m16_c00_highgain | Half gain (not in update) | EBC_m21_c36_lowgain | Half gain (not in update) | LBA_m06_c40_highgain | Far from detector average (not in update), ADC affected anyways | LBC_m47_c35_lowgain | Half gain (not in update)
EBA_m20_c31_highgain | Unusually far from detector average | EBC_m30_c11_highgain | Change to good CIS calibration, but it is ADC affected anyways, so it won't matter | LBA_m14_c08_highgain | Stable but not at the beginning of the month (should be fine) | LBC_m52_c18_lowgain | Good in CIS, but ADC bad, highgain bad
EBA_m36_c15_highgain | Half gain (not in update) | EBC_m30_c11_lowgain | Change to good CIS calibration, but it is ADC affected anyways, so it won't matter | LBA_m28_c**_**gain | Last run in the month it is off (for what reason?), but calibration value will remain the same (green band takes mean as the true mean, not the database-stored one -- this shold be fixed in the plotting code) | LBC_m59_c33_**gain | Good in CIS, but ADC bad, highgain bad
EBA_m39_c31_higgain | Unusually far from detector average (not in update) | EBC_37_c40_highgain | Unusually far from detector average | LBA_m30_c15-17,35_**gain | Masked for what reason? | LBC_m62_c08_highgain | Recalibrate from third run of the month, bad in Laser, but not really bad in CIS
EBA_m42_c30_highgain | Half gain (ADC Affected) | EBC_m46_c07_lowgain | Sridting downwards near the end of the month (not in update | LBA_m46_c38_**gain | ADC bad, masked anyways | LBC_m63__c24-29, 32-35_**gain | Quite a bit of variation in these channels (still calibration constand is good --> no need to mark as Bad CIS, bit worth reporting)
EBA_m48_c31_lowgain | Half gain (not in update) | EBC_m61_c08_lowgain | Unusually far from detector average | LBA_m51_c12_highgain | Exclude the first two runs of the month
EBA_m49_c00_highgain | Beginning of the month is bad, seems to stabilize afterwards. ADC affected anyways |  |  | LBA_m53_c05_highgain | Lowgain is bad, but highgain values seem to systematically underestimate the database values (and for some reason is not in the update)
EBA_m50_c20_highgain | Very far from detector average, looks like there is some shift in the middle of the month (no need to recalibrate at this point) |  |  | LBA_m63_c**_**gain | Last two CIS runs fron 27.10 have it turned off (not in update)
EBA_m61_c15_lowgain | Previous month's recalibration is remaining stable

## October 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m06_c20_highgain | Unusually far from detector average | EBC_m09_c40_highgain | Half gain (not in update) | LBA_m01_c00-47_highgain | Jump in the middle of the month and then returned to normal (future database value will be retained, so it does not matter because it is not really in the update). Make better plots that show the full range for this for the presentaiton | LBC_m08_c03_lowgain | Half gain (not in update)
EBA_m07_c31_lowgain | Drifting down to new plateau | EBC_m16_c36_highgain | Unusually far from detector average | LBA_m02_c06_highgain | Drift up to a stable value, but ADC bad anyways | LBC_m10_c37_highgain | ADD BAD CIS
EBA_m15_c08_highgain | Half gain (not in update) | EBC_m18_c04_lowgain | Unusually far from detector average | LBA_m03_c17_lowgain | Recalibrate from last two runs of the month.Drifting upwards then slight step function at the end | LBC_m19_c22_lowgain | Half gain (not in update)
EBA_m16_c00_highgain | Half gain (not in update) | EBC_m21_c36_lowgain | Half gain (not in update) | LBA_m51_c12_highgain | Recalibrate from the last two runs of the month | LBC_m20_c37_highgain | ADD BAD CIS (not in update)
EBA_m20_c31_highgain | Unusually far from detector average | EBC_m30_c11_highgain | Change to good CIS calibration, but it is ADC affected anyways, so it won't matter |  |  | LBC_m20_c37_lowgain | ADD BAD CIS (not in update)
EBA_m36_c15_highgain | Half gain (not in update) | EBC_m30_c11_lowgain | Change to good CIS calibration, but it is ADC affected anyways, so it won't matter |  |  | LBC_m47_c35_lowgain | Half gain (not in update)
EBA_m42_c30_highgain | Half gain (ADC Affected) | EBC_37_c40_highgain | Unusually far from detector average |  |  | LBC_m52_c34_highgain | Recalibrate from the end of the month 22.9.22
EBA_m48_c31_lowgain | Half gain (not in update) | EBC_m46_c07_lowgain | Sridting downwards near the end of the month (not in update |  |  | LBC_m52_c34_lowgain | Recalibrate from the end of the month 22.9.22
EBA_m49_c00_highgain | Strange outlier at tge end of the month, bad CIS calibratin anyways | EBC_m61_c08_lowgain | Unusually far from detector average
EBA_m50_c20_highgain | Very far from detector average, looks like there is some shift in the middle of the month (no need to recalibrate at this point)
EBA_m61_c15_highgain | Recalibrate from 8.9.22. What accounts for the difference?

## September 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m06_c20_highgain | Unusually far from the detector average | EBC_m09_c40_highgain | Half-gain (not in update) | LBA_m02_c06_lowgain | Both of these have bad ADC, and there are random runs that are all over the place | LBC_m01_c25_highgain | Bad CIS already, similar pattern to odd downward drift in some LBA
EBA_m15_c08_highgain | Half-gain (not in update) | EBC_m13_c03_lowgain | High scatter | LBA_m02_c06_highgain | ' | LBC_m10_c37_highgain | ADD bad CIS. It's in the update, drift at end of month
EBA_m16_c00_highgain | Half-gain (not in update) | EBC_m16_c36_lowgain | ADD Bad CIS, very far from detector average (not in update) | LBA_m03_c17_lowgain | Not in update, but we should ADD Bad CIS, strange downward drift at the end of the month | LBC_m13_c15_highgain | ADD Bad CIS (not in update, masked) giving inconsistent value as in step function
EBA_m19_c41_highgain | Not in update, ADD Bad CIS due to high scatter,even though somehwat close to detector average | EBC_m18_c04_lowgain | Very far fromdetector average, bad ADC known issue | LBA_m14_c37_highgain | This was moved between HG and LG during the month?? Or only one single pon=int for some reason?? Fail Max point in demonstrator | LBC_m13_c15_lowgain | ADD bad CIS (not in update) at end of month there is drift
EBA_m36_c15_highgain | Half-gain (not in update) | EBC_m18_c36_highgain | Very far fromdetector average, bad ADC known issue | LBA_m14_c37_lowgain | ' | LBC_m16_c29_highgain | Already Bad CIS, slight drift over the course of the month
EBA_m39_c31_highgain | Unusually far from the detector average (not in update) | EBC_m20_c10_lowgain | Last month seems as though it was bad, but it is now OK -- look into this | LBA_m35_c08_highgain | ADD Bad CIS, strange downward scatter at the end of month | LBC_m19_c22_lowgain | Not in update, half gain
EBA_m42_c30_highgain | Unusually far from detector average, notin update drift closer to the end of the month | EBC_m21_c36_lowgain | Half-gain (not in update) | LBA_m51_c12_highgain | ADD Bad CIS, strange downward scatter at the end of month | LBC_m24_c00-c47_lowgain | Recalibrate from end of month (or add bad CIS??) there is a strange outlier point for one of the runs in the middle of the month for all of these, just this moduleand just low gain
EBA_m48_c31_lowgain | Half-gain (not in update) | EBC_m23_c31_lowgain | Unusually far from detector average (not in update) | LBA_m62_c26_highgain | DEFAULT, scatter | LBC_m44_c12_highgain | High scatter
EBA_m50_c31_highgain | Unusually far from detector average (not in update) | EBC_m23_c36_highgain | Unusually far from detector average (not in update) |  |  | LBC_m44_c34_highgain | Already Bad CIS, some oscillation
|  | EBC_m30_c11_highgain | Last month seems as though it was bad, but it is now OK -- look into this |  |  | LBC_m52_c00-33_lowgain (except c18, c34) | At half gain now. Recalibrate from end of month (get rid of plot legend to properly see the remaining points??)
|  | EBC_m30_c11_lowgain | Last month seems as though it was bad, but it is now OK -- look into this
|  | EBC_m37_c40_highgain | Unusually far from detector average (not in update)
|  | EBC_m46_c07_lowgain | Bad Cis Calibration due to drifting near beginning of the month; recalibrate channel to end of month values
|  | EBC_m56_c41_lowgain | Unusually far from detector average (not in update); probably should ADD Bad CIS |  |  | Note: maybe remocve the last two runs
|  | EBC_m61_c08_lowgain | Unusually far from detector average, step function in the middle of the month, investigate movement of last month (not in update)

## August 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m07_c31_lowgain | Unusually low CIS constant, some high schatter near end of month, ADC masked | EBC_m09_c40_highgain | Half gain (not in update) | LBA_m02_c06_highgain | Slight downward drift, noticeable step near end (not in update) | LBC_m08_c03_lowgain | Half gain (not in update)
EBA_m15_c08_highgain | Half gain (not in update) | EBC_m13_c03_lowgain | High scatter | LBA_m02_c06_lowgain | Slight downward drift, noticeable step near end (not in update) | LBC_m10_c37_highgain | Remove bad CIS?
EBA_m16_c00_highgain | Half gain (not in update) | EBC_m18_c04_lowgain | Upwards drift, unusually far from detector average (not in update) | LBA_m37_c19_highgain | Half gain (not in update) | LBC_m13_c15_highgain | Recalibrate from the end of July (not in update)
EBA_m19_c41_highgain | Drift at end of month, see if it continues (not in update) | EBC_m18_c36_highgain | Not exactly half gain channel - something else? High scatter. (not in update). DEFAULT (masked) | LBA_m37_c21_highgain | Very far from detector average, larga scatter getting worse at end of time interval | LBC_m13_c15_lowgain | Recalibrate from the end of July (not in update)
EBA_m20_c31_highgain | Very frar from detector average (not in update) | EBC_m21_c36_lowgain | Half gain (not in update) | LBA_m52_c01_lowgain | Add bad CIS? | LBC_m16_c29_highgain | Drifting up, hige step and scatter
EBA_m36_c15_highgain | Half gain (not in update) | EBC_m22_c16_lowgain | Very high scatter,no discernable trend, severe stuck bit | LBA_m62_c26_highgain | DEFAULT (not in update) | LBC_m19_c22_lowgain | Half gain (not in update)
EBA_m39_c31_highgain | Half gain (not in update) | EBC_m23_c31_lowgain | Much lower than detector average | LBA_m64_c29_highgain | Very far from detector average, drift at end of month with high scatter (not in update) | LBC_m23_c20_lowgain | Large scatter (40% RMS/mean), ADC masked
EBA_m42_c30_highgain | Unusually low constant, ADC affected (not in update) | EBC_m23_c36_highgain | Much lower than detector average (not in update) |  |  | LBC_m28_c04_lowgain | Very high scatter
EBA_m48_c31_lowgain | Half gain (not in update) | EBC_m26_c01_lowgain | Not exactly half gain channel - something else? High scatter. (not in update). DEFAULT (masked) |  |  | LBC_m43_c24_highgain | Step jump in middle, still high scatter after the jump, so recalibration would not help
EBA_m50_c31_highgain | Unusually low compared to detecto average, ADC affected (not in update) | EBC_m30_c11_highgain | High scatter at the end of the month |  |  | LBC_m44_c12_highgain | Realibrate to middle of month? Step jump in middle, still slight scatter after the jump,
EBA_m64_c03_highgain | Half gain (not in update), ADC masked | EBC_m30_c11_lowgain | High scatter at the end of the month |  |  | LBC_m44_c35_highgain | Add bad CIS? It's drifting downwards
|  | EBC_m37_c40_highgain | Very far from detector average (not in update) |  |  | LBC_m46_c04_highgain | High scatter in middle of month
|  | EBC_m46_c07_lowgain | Drifting downwards, away from detector average |  |  | LBC_m47_c35_lowgain | Very far from detector average (not in update)
|  | EBC_m61_c08_lowgain | Very far from detector average |  |  | LBC_m52_c18_highgain | Far from detector average, high scatter, channel masked anyways
[6 empty] | LBC_m63_c45_highgain | Remove bad CIS? (not in update)

## July 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m06_c20_highgain | unusually low constant | EBC_m09_c40_highgain | half gain (affected) | LBA_m04_c44_highgain | small scatter (affected) | LBC_m08_c03_lowgain | half gain (masked)
EBA_m07_c31_lowgain | unusually low constant (masked) | EBC_m13_c03_lowgain | scatter (affected) | LBA_m37_c19_highgain | half gain (affected) | LBC_m13_c15 | small step
EBA_m12_c36_highgain | scatter (affected) | EBC_m18_c04_lowgain | unusually low constant (masked) | LBA_m37_c21_highgain | scatter (affected) | LBC_m16_c29_highgain | WEIRD STUFF (affected) (recal??)
EBA_m15_c08_highgain | half gain (affected) | EBC_m18_c36_highgain | DEFAULT (masked) | LBA_m51_c12_highgain | little scatter/step (do I need recal?) | LBC_m19_c22_lowgain | half gain (masked)
EBA_m16_c00_highgain | half gain (affected) | EBC_m21_c36_lowgain | half gain (affected) | LBA_m62_c26_highgain | WEIRD STUFF (masked) | LBC_m23_c20_lowgain | super scatter, high constant (masked)
EBA_m36_c15_highgain | half gain (masked) | EBC_m22_c16_lowgain | scatter, low constant(UNMASKED!!!!) | LBA_m64_c29_highgain | scatter, low constant (affected) | LBC_m28_c04_lowgain | scatter (masked)
EBA_m39_c31_highgain | unusually low constant (affected) | EBC_m23_c31_lowgain | unusually low constant (masked) |  |  | LBC_m43_c24_highgain | scatter (masked)
EBA_m42_c30_highgain | unusually low constant, scatter (affected) | EBC_m23_c36_highgain | unusually low constant (affected) |  |  | LBC_m44_c12_highgain | scatter (masked)
EBA_m48_c31_lowgain | half gain (affected) | EBC_m26_c01_lowgain | DEFAULT (masked) |  |  | LBC_m46_c04_highgain | scatter (UNMASKED!!!!)
EBA_m50_c31_highgain | unusually low constant (affected) | EBC_m30_c11 | drifting |  |  | LBC_m47_c35_lowgain | unusually low constant (masked)
EBA_m64_c03_highgain | half gain (masked) | EBC_m37_c40_highgain | unusually low constant |  |  | LBC_m52_c18_highgain | super scatter, high constant (masked)
|  | EBC_m46_c07_lowgain | drifting |  |  | LBC_m63_c45_highagin | like 95% set on adding bad CIS for small scatter
EBA_m20_c31_highgain | unusually low constant | EBC_m61_c08_lowgain | weird step. (recal)