## Sheet1
Module | Channel | Gain | Masked | Affected | >5% Change? | Current CIS Flag | Change CIS Flag To | Bad Laser Calibration? | Assessment of Laser Plot | Laser Plot | Notes
LBC23 | 20 | L | Y |  |  | Bad |  | Y | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC23_pmt21_history.pdf
LBC43 | 24 | H | Y |  |  | Bad |  | Y | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC43_pmt27_history.pdf
LBC47 | 35 | L | Y |  | Y | Good |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC47_pmt34_history.pdf
LBC52 | 18 | H | Y |  |  | Good |  | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC52_pmt19_history.pdf
EBA19 | 41 | H | Y |  |  | Bad |  | Y | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA19_pmt41_history.pdf
EBA07 | 31 | L | Y |  | Y | Bad |  | N | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA07_pmt29_history.pdf
EBC56 | 41 | L | Y |  | Y | Bad |  | Y | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC56_pmt41_history.pdf
EBC18 | 4 | L | Y |  | Y | Bad |  | Y | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC18_pmt05_history.pdf
EBC22 | 16 | L | Y |  | Y | Bad |  | N | Bad/Affected, Stuck Bit | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC22_pmt17_history.pdf
EBC23 | 31 | L | Y |  |  | Bad |  | Y | Bad/Affected, ADC | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC23_pmt29_history.pdf
LBA02 | 6 | L | Y |  |  | Good | Bad | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA02_pmt07_history.pdf
LBA02 | 6 | H | Y |  |  | Good | Bad | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA02_pmt07_history.pdf
LBA52 | 36 | H | Y |  |  | Bad |  | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA52_pmt39_history.pdf
LBA57 | 45 | L | Y |  |  | Good |  | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA57_pmt48_history.pdf | Keep masked
LBA62 | 26 | H | Y |  | Y | Good | Bad | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA62_pmt25_history.pdf
LBA35 | 8 | H | Y |  | Y | Good | Bad | N | Bad/Affected, ADC | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA35_pmt09_history.pdf
LBA38 | 46 | L | Y |  | Y | Good | Bad | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA38_pmt47_history.pdf
LBA38 | 46 | H | Y |  |  | Good |  | N | Bad | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA38_pmt47_history.pdf
LBC62 | 8 | H |  | Y |  | Good | Bad | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC62_pmt09_history.pdf
LBC16 | 29 | H |  | Y |  | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC16_pmt28_history.pdf
LBC44 | 12 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC44_pmt13_history.pdf
LBC44 | 34 | H |  | Y |  | Bad | Good | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC44_pmt35_history.pdf
LBC01 | 25 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC01_pmt26_history.pdf
LBC46 | 4 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC46_pmt05_history.pdf
LBC10 | 37 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC10_pmt38_history.pdf
EBA16 | 17 | H |  | Y |  | Good | Bad | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA16_pmt18_history.pdf
EBA39 | 31 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA39_pmt29_history.pdf
EBA49 | 0 | H |  | Y |  | Bad |  | N | Good
EBA50 | 20 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA50_pmt21_history.pdf
EBA50 | 31 | H |  | Y |  | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA50_pmt29_history.pdf
EBC01 | 21 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC01_pmt22_history.pdf
EBC46 | 7 | L |  | Y | Y | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC46_pmt08_history.pdf
EBC16 | 36 | L |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC23_pmt44_history.pdf
EBC16 | 39 | H |  | Y |  | Bad |  | N | Affected
EBC61 | 8 | L |  | Y | Y | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC61_pmt09_history.pdf
EBC23 | 36 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC23_pmt44_history.pdf
EBC23 | 3 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC23_pmt04_history.pdf
LBA45 | 6 | H |  | Y |  | Bad |  | Y | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA45_pmt07_history.pdf
LBA06 | 40 | H |  | Y |  | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA06_pmt41_history.pdf
LBA52 | 1 | L |  | Y |  | Bad |  | Y | Bad/Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA52_pmt02_history.pdf
LBA64 | 29 | H |  | Y |  | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA64_pmt28_history.pdf
LBA37 | 21 | H |  | Y | Y | Bad |  | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA37_pmt22_history.pdf
EBC34 | 39 | L |  |  | Y | Good |  | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC34_pmt43_history.pdf
EBC34 | 41 | L |  |  | Y | Good | Bad | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC34_pmt41_history.pdf
LBA30 | 13 | L |  |  | Y | Good | Bad | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA30_pmt14_history.pdf
LBC19 | 26 | H |  |  | Y | Good | Bad | N | No Signal | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC19_pmt25_history.pdf
LBC52 | 34 | H |  |  | Y | Good |  | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC52_pmt35_history.pdf
LBC52 | 34 | L |  |  | Y | Good |  | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC52_pmt35_history.pdf
LBC57 | 6 | H |  |  | Y | Good | Bad | N | Good (should be Bad) | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBC52_pmt35_history.pdf
EBA20 | 31 | H |  |  |  | Bad | Good | N | Affected | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA20_pmt29_history.pdf
EBA40 | 35 | H |  |  |  | Good | Bad | N | Good (should be Bad) | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBA40_pmt34_history.pdf
EBC20 | 10 | L |  |  |  | Good | Bad | N | Good (should be Bad) | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC20_pmt11_history.pdf
EBC23 | 1 | L |  |  |  | Good | Bad | N | Good
EBC34 | 38 | H |  |  |  | Good | Bad | N | Good | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_EBC34_pmt37_history.pdf
LBA03 | 17 | L |  |  |  | Good | Bad | N | Good (should be Bad) | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA03_pmt18_history.pdf
LBA51 | 12 | H |  |  |  | Good | Bad | N | Good (should be Bad) | https://hwilkens.web.cern.ch/hwilkens/Tucs/plots/latest/channels/channel_LBA51_pmt13_history.pdf