## August 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m07_c31_lowgain | Unusually low CIS constant, some high schatter near end of month, ADC masked | EBC_m09_c40_highgain | Half gain (not in update) | LBA_m02_c06_highgain | Slight downward drift, noticeable step near end (not in update) | LBC_m08_c03_lowgain | Half gain (not in update)
EBA_m15_c08_highgain | Half gain (not in update) | EBC_m13_c03_lowgain | High scatter | LBA_m02_c06_lowgain | Slight downward drift, noticeable step near end (not in update) | LBC_m10_c37_highgain | Remove bad CIS?
EBA_m16_c00_highgain | Half gain (not in update) | EBC_m18_c04_lowgain | Upwards drift, unusually far from detector average (not in update) | LBA_m37_c19_highgain | Half gain (not in update) | LBC_m13_c15_highgain | Recalibrate from the end of July (not in update)
EBA_m19_c41_highgain | Drift at end of month, see if it continues (not in update) | EBC_m18_c36_highgain | Not exactly half gain channel - something else? High scatter. (not in update). DEFAULT (masked) | LBA_m37_c21_highgain | Very far from detector average, larga scatter getting worse at end of time interval | LBC_m13_c15_lowgain | Recalibrate from the end of July (not in update)
EBA_m20_c31_highgain | Very frar from detector average (not in update) | EBC_m21_c36_lowgain | Half gain (not in update) | LBA_m52_c01_lowgain | Add bad CIS? | LBC_m16_c29_highgain | Drifting up, hige step and scatter
EBA_m36_c15_highgain | Half gain (not in update) | EBC_m22_c16_lowgain | Very high scatter,no discernable trend, severe stuck bit | LBA_m62_c26_highgain | DEFAULT (not in update) | LBC_m19_c22_lowgain | Half gain (not in update)
EBA_m39_c31_highgain | Half gain (not in update) | EBC_m23_c31_lowgain | Much lower than detector average | LBA_m64_c29_highgain | Very far from detector average, drift at end of month with high scatter (not in update) | LBC_m23_c20_lowgain | Large scatter (40% RMS/mean), ADC masked
EBA_m42_c30_highgain | Unusually low constant, ADC affected (not in update) | EBC_m23_c36_highgain | Much lower than detector average (not in update) |  |  | LBC_m28_c04_lowgain | Very high scatter
EBA_m48_c31_lowgain | Half gain (not in update) | EBC_m26_c01_lowgain | Not exactly half gain channel - something else? High scatter. (not in update). DEFAULT (masked) |  |  | LBC_m43_c24_highgain | Step jump in middle, still high scatter after the jump, so recalibration would not help
EBA_m50_c31_highgain | Unusually low compared to detecto average, ADC affected (not in update) | EBC_m30_c11_highgain | High scatter at the end of the month |  |  | LBC_m44_c12_highgain | Realibrate to middle of month? Step jump in middle, still slight scatter after the jump,
EBA_m64_c03_highgain | Half gain (not in update), ADC masked | EBC_m30_c11_lowgain | High scatter at the end of the month |  |  | LBC_m44_c35_highgain | Add bad CIS? It's drifting downwards
|  | EBC_m37_c40_highgain | Very far from detector average (not in update) |  |  | LBC_m46_c04_highgain | High scatter in middle of month
|  | EBC_m46_c07_lowgain | Drifting downwards, away from detector average |  |  | LBC_m47_c35_lowgain | Very far from detector average (not in update)
|  | EBC_m61_c08_lowgain | Very far from detector average |  |  | LBC_m52_c18_highgain | Far from detector average, high scatter, channel masked anyways
[6 empty] | LBC_m63_c45_highgain | Remove bad CIS? (not in update)

## July 2022
EBA | Notes | EBC | Notes | LBA | Notes | LBC | Notes
EBA_m06_c20_highgain | unusually low constant | EBC_m09_c40_highgain | half gain (affected) | LBA_m04_c44_highgain | small scatter (affected) | LBC_m08_c03_lowgain | half gain (masked)
EBA_m07_c31_lowgain | unusually low constant (masked) | EBC_m13_c03_lowgain | scatter (affected) | LBA_m37_c19_highgain | half gain (affected) | LBC_m13_c15 | small step
EBA_m12_c36_highgain | scatter (affected) | EBC_m18_c04_lowgain | unusually low constant (masked) | LBA_m37_c21_highgain | scatter (affected) | LBC_m16_c29_highgain | WEIRD STUFF (affected) (recal??)
EBA_m15_c08_highgain | half gain (affected) | EBC_m18_c36_highgain | DEFAULT (masked) | LBA_m51_c12_highgain | little scatter/step (do I need recal?) | LBC_m19_c22_lowgain | half gain (masked)
EBA_m16_c00_highgain | half gain (affected) | EBC_m21_c36_lowgain | half gain (affected) | LBA_m62_c26_highgain | WEIRD STUFF (masked) | LBC_m23_c20_lowgain | super scatter, high constant (masked)
EBA_m36_c15_highgain | half gain (masked) | EBC_m22_c16_lowgain | scatter, low constant(UNMASKED!!!!) | LBA_m64_c29_highgain | scatter, low constant (affected) | LBC_m28_c04_lowgain | scatter (masked)
EBA_m39_c31_highgain | unusually low constant (affected) | EBC_m23_c31_lowgain | unusually low constant (masked) |  |  | LBC_m43_c24_highgain | scatter (masked)
EBA_m42_c30_highgain | unusually low constant, scatter (affected) | EBC_m23_c36_highgain | unusually low constant (affected) |  |  | LBC_m44_c12_highgain | scatter (masked)
EBA_m48_c31_lowgain | half gain (affected) | EBC_m26_c01_lowgain | DEFAULT (masked) |  |  | LBC_m46_c04_highgain | scatter (UNMASKED!!!!)
EBA_m50_c31_highgain | unusually low constant (affected) | EBC_m30_c11 | drifting |  |  | LBC_m47_c35_lowgain | unusually low constant (masked)
EBA_m64_c03_highgain | half gain (masked) | EBC_m37_c40_highgain | unusually low constant |  |  | LBC_m52_c18_highgain | super scatter, high constant (masked)
|  | EBC_m46_c07_lowgain | drifting |  |  | LBC_m63_c45_highagin | like 95% set on adding bad CIS for small scatter
EBA_m20_c31_highgain | unusually low constant | EBC_m61_c08_lowgain | weird step. (recal)